## GB-1 NonRes New
|  |  |  | Plan Sheet, Spec or Attachment Reference | Compliance Path Verification | [10 empty] | Plan Sheet, Spec or Attachment Reference | Compliance Path Verification | [5 empty] | CALGreen Building Inspector Acknowledgement
Project Address: Case No: 2022 CALIFORNIA NONRESIDENTIAL CHECKLIST - CALGREEN + LOCAL REQUIREMENTS
[5 empty] | Planning Review |  | Plan Check |  | Field Verification | [7 empty] | Planning Review |  | Plan Check |  | Field Verification
5.1 Planning and Design |  |  | State and/or Local Code Section |  | Y | N | Y | N | Increm | Final | 5.5 Environmental Quality |  |  |  | State and/or Local Code Section |  | Y | N | Y | N | Increm | Final
| 1 | Stormwater Pollution Prevention | WHMC 19.20.190 & Chapter 15.56 | [9 empty] | Fireplaces |  | CGBS 5.503.1
| 2 | Construction debris control | WHMC 19.20.060 | [9 empty] | Woodstoves |  | CGBS 5.503.1.1 | [7 empty] | The project will be verified by a qualified CALGreen Building Inspector or California licensed Architect.
| 3 | Low-impact development | WHMC 19.20.190 & Chapter 15.56 | [9 empty] | Temporary ventilation |  | CGBS 5.504.1
|  | Grading & Paving | WHMC 19.20.190 & CGBS 5.106.10 | [9 empty] | Covering of duct openings and protection of mechanical equipment during construction |  | CGBS 5.504.3
| 4 | Storm Drain Labeling | WHMC 19.20.190 & Chapter 15.56 | [9 empty] | Finish material pollutant control |  | CGBS 5.404.4
| 5 | Bicycle parking | CGBS 5.106.4 | [9 empty] | Adhesives, sealants and caulks: Comply with VOC limits (Table 5.504.4.1 and 5.504.4.2) |  | CGBS 5.504.4.1 | [7 empty] | I have reviewed the project plans and specifications, and they are in conformance with the CALGreen and West Hollywood mandatory provisions claimed. I have reviewed and understand the post-construction requirements below.
| 6 | Electric vehicle (EV) charging | CGBS 5.106.5.3 | [9 empty] | Paints and Coatings: Comply with VOC Limits (Table 5.504.4.3) |  | CGBS 5.504.4.3
| 7 | EV: EV Capable Spaces | CGBS 5.106.5.3.1 | [9 empty] | Aerosol paints and coatings |  | CGBS 5.504.4.3.1
| 8 | EV: Electric Vehicl Charging Stations (EVCS) | CGBS 5.106.5.3.2 | [9 empty] | Verification, for paints and coatings |  | CGBS 5.504.4.3.2
| 9 | EV: Use of automatic load management systems (ALMS) | CGBS 5.106.5.3.3 | [9 empty] | Carpet systems |  | CGBS 5.504.4.4
|  | EV: Accessible EVCS | CGBS 5.106.5.3.4 | [9 empty] | Carpet systems: Carpet cushion |  | CGBS 5.504.4.4.1
| 10 | EV: Electric vehicle (EV) charging: Medium-duty and Heavy-duty | CGBS 5.106.5.4 | [9 empty] | Carpet systems: Carpet adhesive |  | CGBS 5.504.4.4.2
| #REF! | EV: New multifamily dwellings, hotels and motels and new residential parking facilities | CGBS 4.106.4.2 | [9 empty] | Composite wood products: Formaldehyde limits (Table 5.504.4.5) |  | CGBS 5.504.4.5
|  | EV Charging for Additions and Alterations of Parking Facilities Serving Existing Multifamily Buildings | CGBS 4.106.4.3 | [9 empty] | Composite wood products: Documentation |  | CGBS 5.504.4.5.3
| #REF! | Alternative transportation (bicycle parking & facilities) | WHMC 19.28.150 | [9 empty] | Resilient flooring system, 80% |  | CGBS 5.504.4.6
|  | Transportation demand management | WHMC Chapter 10.16 | [9 empty] | Resilient flooring system: Verification of Compliance |  | CGBS 5.504.4.6.1 | [7 empty] | Signature |  | Date
|  | Landscaping for surface parking areas | WHMC 19.28.100(B) | [9 empty] | Filters |  | CGBS 5.504.5.3
|  | Sustainable roof measures (choose one of three) | WHMC 19.20.060 | [9 empty] | Filters: Labeling |  | CGBS 5.504.5.3.1
|  | Light Pollution Reduction [N] (also see Energy Efficient Outdoor Lighting - WHMC 19.20.100) | WHMC 19.20.100 & CGBS Section 5.106.8 | [9 empty] | Environmental tobacco smoke (ETS) control |  | CGBS 5.504.7
5.2 Energy Efficiency | [12 empty] | Indoor moisture control |  | CGBS 5.505.1 | [7 empty] | Print Full Name
| 1 | Energy efficiency | WHMC 19.20.060 & 2022 Title 24, Part 6 | [9 empty] | Outside air delivery (For Indoor Air Quality) |  | CGBS 5.506.1
| 2 | Energy star appliances | WHMC 19.20.060 | [9 empty] | Carbon dioxide (CO2) monitoring (For Indoor Air Quality) |  | CGBS 5.506.2
| 3 | Energy-efficient outdoor lighting (also see Light Pollution Reduction - CALGreen Section 5.106.8) | WHMC 19.20.060 | [9 empty] | Acoustical control (STC Values per ASTM E90 and ASTM E413) |  | CGBS 5.507.4
| 4 | Energy benchmarking readiness - Buildings over 20,000 square feet | WHMC 19.20.060 | [9 empty] | Exterior noise transmission, prescriptive method |  | CGBS 5.507.4.1 | [7 empty] | Phone or Email
5.3 Water Efficiency and Conservation | [12 empty] | Noise exposure where noise contours are not readily available |  | CGBS 5.507.4.1.1
| 1 | Meters | CGBS 5.303.1 | [9 empty] | Exterior noise transmission, performance method |  | CGBS 5.507.4.2
| 2 | Meters: New buildings or additions in excess of 50,000 square feet | CGBS 5.303.1.1 | [9 empty] | Site features |  | CGBS 5.507.4.2.1 | [7 empty] | SCHEDULE A GREEN BUILDING INCREMENTAL VERFICATION DURING ROUGH INSPECTION
| 3 | Meters: Excess consumption (Submeters for additions that consume over 1,000 gal/ day) | CGBS 5.303.1.2 | [9 empty] | Documentation of compliance |  | CGBS 5.507.4.2.2
| 4 | Water conserving plumbing fixtures and fittings | WHMC 19.20.060 & CGBS 5.303.3 | [9 empty] | Interior sound transmission |  | CGBS 5.507.4.3
| 5 | Indoor water use: Water closets (shall not exceed 1.1 gallons per flush) | WHMC 13.24.015 & CGBS 5.303.3.1 | [9 empty] | Ozone depletion and greenhouse gas reductions |  | CGBS 5.508.1
| 6 | Indoor water use: Wall-mounted urinals (0.125gpf) | CGBS 5.303.3.2.1 | [9 empty] | Chlorofluorocarbons |  | CGBS 5.508.1.1
| 7 | Indoor water use: Floor-mounted urinals ( 0.5 gpf) | CGBS 5.303.3.2.2 | [9 empty] | Halons |  | CGBS 5.508.1.2 | [7 empty] | Schedule a Green Building Incremental Verification if any of the following CALGreen or WHMC provisions are marked with an "X" under the "Y" column of this sheet.
| 8 | Indoor water use: Single showerhead ( 1.5 gpm at 80 psi) | CGBS 5.303.3.3.1 | [9 empty] | Supermarket refrigerant leak reduction |  | CGBS 5.508.2
| 9 | Indoor water use: Multiple showerheads serving one shower ( flow rate of 1.5 gpm at 80 psi) | WHMC 13.24.015 & CGBS 5.303.3.3.2 | [7 empty] | Additional Requirements for Projects Seeking Approval of A Specific Plan or Development Agreement (Select one of three)
| 10 | Indoor water use: Nonresidential lavatory faucets (0.5 gpm at 60 psi) | WHMC 13.24.015 & CGBS 5.303.3.4.1 | [7 empty] | Select one | 1 | Highly Energy Efficient Building: Performance approach specified within the 2022 California Energy Code shall be used to demonstrate that the TDV Energy of proposed new nonresidential and mixed-use projects is at least: 50 percent less than TDV energy of the Standard Design. |  | WHMC 19.20.060/ Title 24, Part 6 | [7 empty] | -WHMC 19.28.150 Bicycle Parking & Facilities -5.106.8 Light Pollution Reduction / WHMC 19.20.100 -5.303.1.1 Meters -5.303.1.2 Excess Consumption -5.410.2 Commissioning -5.410.4 Testing and Adjusting -5.504.3 Covering of duct openings and protection of mechanical equipment during construction -5.504.4 Finish Material Pollutant Control
| 11 | Indoor water use: Kitchen faucets (1.5 gpm at 60 psi) | WHMC 13.24.015 & CGBS 5.303.3.4.2 | [8 empty] | 2
|  | Indoor water use: Wash fountains (1.8 gpm at 60 psi) | CGBS 5.303.3.4.3 | [8 empty] | 3
| 12 | Indoor water use: Metering faucets (0.2 gallons/ cycle) | CGBS 5.303.3.4.4 | [8 empty] | 4 | Graywater system installation (Indoor, Outdoor, or Combination) |  | WHMC 19.20.060
|  | Indoor water use: Metering faucets for wash fountains (0.2 gallons/ cycle) | CGBS 5.303.3.4.5 | [8 empty] | 5 | Third-Party rating system certification (LEED Platinum or Living Building Challenge) |  | WHMC 19.20.060
|  | Indoor water use: Pre-Rinse Spray Valves | CGBS 5.303.3.4.6
|  | Commercial kitchen equipment - Food waste disposers | CGBS 5.303.4.1
| 13 | Indoor water use: Standards for plumbing fixtures and fittings (2022 Cal Plumbing Code) | CGBS 5.303.6 | [9 empty] | Legend:
|  | Outdoor water use in landscape areas (MWELO) (Include MWELO Toolkit) | WHMC 13.24.015 & CGBS 5.304.1 | [9 empty] | Y - | Yes, the measure selected is applicable to my project and in the scope of work
|  | Outdoor water use: Landscape water meters (when landscaping is in the scope) (locally amended) | WHMC 13.24.015 & CGBS 5.304.2 | [9 empty] | N - | No, the measure is not applicable to my project and not in the scope of work
5.4 Material Conservation and Resource Efficiency | [12 empty] | WHMC - | West Hollywood Municipal Code | [8 empty] | SECTION TO BE COMPLETED POST-CONSTRUCTION
|  | Weather protection | CGBS 5.407.1 | [9 empty] | CGBS - | California Green Building Standards (CALGreen)
|  | Moisture control: Sprinklers | CGBS 5.407.2.1
|  | Moisture control: Entries + Openings | CGBS 5.407.2.2 | [9 empty] | Planning Review and Plan Check Instructions:
|  | Moisture control: Exterior door protection | CGBS 5.407.2.2.1 | [9 empty] | This Green Building Checklist is intended to simplify the project approval process for nonresidential projects in West Hollywood. Each of the items on this checklist is mandatory, depending on the project's scope. References to State and local code sections are provided. Applicants shall submit this checklist along with supporting documentation onto the submittal plans as part of their application for a development permit and a building permit, as applicable (see West Hollywood Green Building Program Manual for information). Mixed-use projects should use this checklist for the nonresidential portions of the project.
|  | Moisture control: Flashing | CGBS 5.407.2.2.2 | [20 empty] | Schedule a two-part Final Green Building Inpection in accordance with the Nonresidential Green Building Guidelines.
| 1 | Enhanced construction waste management- 80% Diversion | WHMC 19.20.060 & CGBS 5.408.1
| 1 | Environmental Protection, Pollution, and Solid Waste | WHMC 19.20.060
| #REF! | Universal Waste | CGBS 5.408.2
| #REF! | Excavated Soil and Land Clearing Debris | CGBS 5.408.3 | [20 empty] | For Part 1, prepare all submittals & supporting documentation for the items identified with an "X" under the "Y" column of this sheet.
| #REF! | Recyclable Materials Storage | WHMC 19.20.060 & CGBS 5.410.1
| #REF! | Commissioning (buildings 10,000 square feet or more [N]) | CGBS 5.410.2
| #REF! | Owner's or Owner's representative's project requirements (OPR) [N] | CGBS 5.410.2.1
| #REF! | Basis of Design (BOD) [N] | CGBS 5.410.2.2 | [20 empty] | For Part 2, prepare a field inspection for the items identified with an "X" under the "Y" column of this sheet.
| #REF! | Commissioning plan [N] | CGBS 5.410.2.3 | [9 empty] | Green Building Inspection Instructions: 1. It is the requirement of the ICC-certifed CALGreen Building Inspector to review and understand the City of West Hollywood's Green Building Program Manual. 2. After the building permit has been issued, an ICC-certified CALGreen Building Inspector shall field verify all applicable requirements. 3. Prior to the installation of drywall, the general contractor or approved agent shall use an ICC-certified CALGreen Building Inspector to verify compliance with the Green Building Incremental Verification requirements. The general contractor shall then contact the West Hollywood Building & Safety Divsion at 323.984.7321 to schedule a Green Building Incremental Verification with a City Building Inspector. The CALGreen Building Inspector shall have confirmed all applicable items and present all required documentation. 4. Prior to final building approval, the general contractor or approved agent shall use an ICC-certified CALGreen Building Inspector to verify compliance with the Green Building Final Inspection requirements. The general contractor shall then contact the West Hollywood Building & Safety Divsion at 323.984.7321 to schedule a Green Building Final Inspection with a City Building Inspector. The CALGreen Building Inspector shall have confirmed all applicable items and present all required documentation. 5. The CALGreen Building Inspector shall also sign and complete the acknowledgement box in the upper right hand corner and post-construction verification.
| #REF! | Functional performance testing [N] | CGBS 5.410.2.4
| #REF! | Documentation and training [N] | CGBS 5.410.2.5 | [19 empty] | I certify that:
| #REF! | Documentation and training: Systems manual [N] | CGBS 5.410.2.5.1
| #REF! | Documentation and training: Systems operations training [N] | CGBS 5.410.2.5.2 | [20 empty] | There have been no alterations that have impacted the energy report for the project.
| #REF! | Commissioning report [N] | CGBS 5.410.2.6
| #REF! | Testing and adjusting [N] (buildings less than 10,000SF or new systems to serve additions and alterations [AA]) | CGBS 5.410.4
| #REF! | Testing and adjusting for systems: HVAC, lighting, water heating, renewable energy, landscape irrigation, and water reuse | CGBS 5.410.4.2 | [20 empty] | All mandatoiry CALGreen measures and required electives noted in the checklist have been implemented, unless a new checklist is provided along with supporting documentation.
| #REF! | Testing and adjusting: Procedures | CGBS 5.410.4.3
| #REF! | Testing and adjusting: HVAC balancing | CGBS 5.410.4.3.1
| #REF! | Testing, adjusting and balancing: Reporting for HVAC balancing | CGBS 5.410.4.4
| #REF! | Operation and maintenance (O&M) manual | CGBS 5.410.4.5
|  | O&M: Inspection and reports [AA] + [N] less than 10,000 square feet | CGBS 5.410.4.5.1
[23 empty] | Signature |  | Date
Sign only after construction is completed
Print Full Name
Phone or Email
``
[25 empty] | 2022 NONRESIDENTIAL GREEN BUILDING CHECKLIST CALGREEN + LOCAL REQUIREMENTS | GB-1
Version 1.0
Title 24, Part 11, California Green Building Code (CALGreen) w/2023 LA County Amendments
[10 empty] | City of West Hollywood Green Building Program and Resources | [5 empty] | Application: This plan sheet is for use by new nonresidential projects and major remodels.
NonRes
The Energy Star Benchmark Portfolio profile is a required project submittal. Create a project profile on Energy Star Portfolio Manager using following link. A screenshot of the project profile shall be included on a separate page in this plan set during the Plan Check Phase. Please indicate the reference page here ______________________.

## GB-2 NonRes AA
[6 empty] | Plan Sheet, Spec or Attachment Reference | Compliance Path Verification | [12 empty] | Plan Sheet, Spec or Attachment Reference | Compliance Path Verification | [5 empty] | CALGreen Building Inspector Acknowledgement
Project Address: Case No: 2022 CALIFORNIA NONRESIDENTIAL CHECKLIST - CALGREEN + LOCAL REQUIREMENTS
[7 empty] | Planning Review |  | Plan Check |  | Field Verification | [9 empty] | Planning Review |  | Plan Check |  | Field Verification
5.1 Planning and Design |  |  | State and/or Local Code Section | Y | N |  | Y | N | Y | N | Increm | Final | 5.5 Environmental Quality |  |  |  | State and/or Local Code Section | Y | N |  | Y | N | Y | N | Increm | Final
| 1 | Stormwater Pollution Prevention | WHMC 19.20.190 & Chapter 15.56 | [10 empty] | #REF! |  | Fireplaces | CGBS 5.503.1
| 2 | Construction debris control | WHMC 19.20.060 | [10 empty] | #REF! |  | Woodstoves | CGBS 5.503.1.1 | [9 empty] | The project will be verified by a qualified CALGreen Building Inspector or California licensed Architect.
| 3 | Low-impact development | WHMC 19.20.190 & Chapter 15.56 | [10 empty] | #REF! |  | Temporary ventilation | CGBS 5.504.1
|  | Grading & Paving | WHMC 19.20.190 & CGBS 5.106.10 | [10 empty] | #REF! |  | Covering of duct openings and protection of mechanical equipment during construction | CGBS 5.504.3
| 4 | Storm Drain Labeling | WHMC 19.20.190 & Chapter 15.56 | [10 empty] | #REF! |  | Finish material pollutant control | CGBS 5.404.4
| 5 | Bicycle parking | CGBS 5.106.4 | [10 empty] | #REF! |  | Adhesives, sealants and caulks: Comply with VOC limits (Table 5.504.4.1 and 5.504.4.2) | CGBS 5.504.4.1 | [9 empty] | I have reviewed the project plans and specifications, and they are in conformance with the CALGreen and West Hollywood mandatory provisions claimed. I have reviewed and understand the post-construction requirements below.
| 6 | Alternative transportation (bicycle parking & facilities) | WHMC 19.28.150 | [10 empty] | #REF! |  | Paints and Coatings: Comply with VOC Limits (Table 5.504.4.3) | CGBS 5.504.4.3
| 7 | Transportation demand management | WHMC Chapter 10.16 | [10 empty] | #REF! |  | Aerosol paints and coatings | CGBS 5.504.4.3.1
| 8 | Landscaping for surface parking areas | WHMC 19.28.100(B) | [10 empty] | #REF! |  | Verification, for paints and coatings | CGBS 5.504.4.3.2
[14 empty] | #REF! |  | Carpet systems | CGBS 5.504.4.4
5.2 Energy Efficiency | [13 empty] | #REF! |  | Carpet systems: Carpet cushion | CGBS 5.504.4.4.1
|  | Energy efficiency | WHMC 19.20.060 & 2022 Title 24, Part 6 | [10 empty] | #REF! |  | Carpet systems: Carpet adhesive | CGBS 5.504.4.4.2
| #REF! | [12 empty] | #REF! |  | Composite wood products: Formaldehyde limits (Table 5.504.4.5) | CGBS 5.504.4.5
5.3 Water Efficiency and Conservation | [13 empty] | #REF! |  | Composite wood products: Documentation | CGBS 5.504.4.5.3
|  | Meters | CGBS 5.303.1 | [10 empty] | #REF! |  | Resilient flooring system, 80% | CGBS 5.504.4.6
|  | Meters: New buildings or additions in excess of 50,000 square feet | CGBS 5.303.1.1 | [10 empty] | #REF! |  | Resilient flooring system: Verification of Compliance | CGBS 5.504.4.6.1 | [9 empty] | Signature |  | Date
|  | Meters: Excess consumption (Submeters for additions that consume over 1,000 gal/ day) | CGBS 5.303.1.2 | [10 empty] | #REF! |  | Filters | CGBS 5.504.5.3
|  | Water conserving plumbing fixtures and fittings | WHMC 19.20.060 & CGBS 5.303.3 | [12 empty] | Filters: Labeling | CGBS 5.504.5.3.1
|  | Indoor water use: Water closets (shall not exceed 1.1 gallons per flush) | WHMC 13.24.015 & CGBS 5.303.3.1 | [10 empty] | #REF! |  | Environmental tobacco smoke (ETS) control | CGBS 5.504.7
|  | Indoor water use: Wall-mounted urinals (0.125gpf) | CGBS 5.303.3.2.1 | [10 empty] | #REF! |  | Indoor moisture control | CGBS 5.505.1 | [9 empty] | Print Full Name
|  | Indoor water use: Floor-mounted urinals ( 0.5 gpf) | CGBS 5.303.3.2.2 | [10 empty] | #REF! |  | Outside air delivery (For Indoor Air Quality) | CGBS 5.506.1
|  | Indoor water use: Single showerhead ( 1.5 gpm at 80 psi) | CGBS 5.303.3.3.1 | [10 empty] | #REF! |  | Carbon dioxide (CO2) monitoring (For Indoor Air Quality) | CGBS 5.506.2
|  | Indoor water use: Multiple showerheads serving one shower ( flow rate of 1.5 gpm at 80 psi) | WHMC 13.24.015 & CGBS 5.303.3.3.2 | [10 empty] | #REF! |  | Acoustical control (STC Values per ASTM E90 and ASTM E413) | CGBS 5.507.4
|  | Indoor water use: Nonresidential lavatory faucets (0.5 gpm at 60 psi) | WHMC 13.24.015 & CGBS 5.303.3.4.1 | [10 empty] | #REF! |  | Exterior noise transmission, prescriptive method | CGBS 5.507.4.1 | [9 empty] | Phone or Email
|  | Indoor water use: Kitchen faucets (1.5 gpm at 60 psi) | WHMC 13.24.015 & CGBS 5.303.3.4.2 | [12 empty] | Noise exposure where noise contours are not readily available | CGBS 5.507.4.1.1
|  | Indoor water use: Wash fountains (1.8 gpm at 60 psi) | CGBS 5.303.3.4.3 | [10 empty] | #REF! |  | Exterior noise transmission, performance method | CGBS 5.507.4.2
|  | Indoor water use: Metering faucets (0.2 gallons/ cycle) | CGBS 5.303.3.4.4 | [10 empty] | #REF! |  | Site features | CGBS 5.507.4.2.1 | [9 empty] | SCHEDULE A GREEN BUILDING INCREMENTAL VERFICATION DURING ROUGH INSPECTION
|  | Indoor water use: Metering faucets for wash fountains (0.2 gallons/ cycle) | CGBS 5.303.3.4.5 | [10 empty] | #REF! |  | Documentation of compliance | CGBS 5.507.4.2.2
|  | Indoor water use: Pre-Rinse Spray Valve | CGBS 5.303.3.4.6 | [10 empty] | #REF! |  | Interior sound transmission | CGBS 5.507.4.3
|  | Commercial kitchen equipment - Food waste disposers | CGBS 5.303.4.1 | [10 empty] | #REF! |  | Ozone depletion and greenhouse gas reductions | CGBS 5.508.1
|  | Areas of Addition and Alteration | CGBS 5.303.5 | [10 empty] | #REF! |  | Chlorofluorocarbons | CGBS 5.508.1.1
|  | Indoor water use: Standards for plumbing fixtures and fittings (2022 Cal Plumbing Code) | CGBS 5.303.6 | [10 empty] | #REF! |  | Halons | CGBS 5.508.1.2 | [9 empty] | Schedule a Green Building Incremental Verification if any of the following CALGreen or WHMC provisions are marked with an "X" under the "Y" column of this sheet.
|  | Outdoor water use in landscape areas (MWELO) (Include MWELO Toolkit) | WHMC 13.24.015 & CGBS 5.304.1 | [10 empty] | #REF! |  | Supermarket refrigerant leak reduction | CGBS 5.508.2
|  | Outdoor water use: Landscape water meters (when landscaping is in the scope) (locally amended) | WHMC 13.24.015 & CGBS 5.304.2
-WHMC 19.28.150 Bicycle Parking & Facilities -5.106.8 Light Pollution Reduction / WHMC 19.20.100 -5.303.1.1 Meters -'--5.303.1.2 Excess Consumption -5.410.2 Commissioning -5.410.4 Testing and Adjusting -5.504.3 Covering of duct openings and protection of mechanical equipment during construction -5.504.4 Finish Material Pollutant Control
5.4 Material Conservation and Resource Efficiency | [14 empty] | Legend:
|  | Weather protection | CGBS 5.407.1 | [11 empty] | Y - | Yes, the measure selected is applicable to my project and in the scope of work
|  | Moisture control: Sprinklers | CGBS 5.407.2.1 | [11 empty] | N - | No, the measure is not applicable to my project and not in the scope of work
|  | Moisture control: Entries + Openings | CGBS 5.407.2.2 | [11 empty] | WHMC - | West Hollywood Municipal Code
|  | Moisture control: Exterior door protection | CGBS 5.407.2.2.1 | [11 empty] | CGBS - | California Green Building Standards
|  | Moisture control: Flashing | CGBS 5.407.2.2.2
|  | Enhanced construction waste management- 80% Diversion | WHMC 19.20.060 & CGBS 5.408.1 | [11 empty] | Planning Review and Plan Check Instructions:
|  | Environmental Protection, Pollution, and Solid Waste | WHMC 19.20.060 | [11 empty] | This Green Building Checklist is intended to simplify the project approval process for nonresidential project additions, alterations, and initial tenant improvements, where applicable, in West Hollywood. Each of the items on this checklist is mandatory, depending on the project's scope. References to State and local code sections are provided. Applicants shall submit this checklist along with supporting documentation onto the submittal plans as part of their application for a development permit and a building permit, as applicable (see West Hollywood Green Building Program Manual for information). Mixed-use projects should use this checklist for the nonresidential portions of the project.
|  | Universal Waste | CGBS 5.408.2
|  | Excavated Soil and Land Clearing Debris | CGBS 5.408.3 | [23 empty] | SECTION TO BE COMPLETED POST-CONSTRUCTION
|  | Recyclable Materials Storage | WHMC 19.20.060 & CGBS 5.410.1
|  | Testing and adjusting [N] (buildings less than 10,000SF or new systems to serve additions and alterations [AA]) | CGBS 5.410.4
|  | Testing and adjusting for systems: HVAC, lighting, water heating, renewable energy, landscape irrigation, and water reuse | CGBS 5.410.4.2 | [11 empty] | Green Building Inspection Instructions: 1. It is the requirement of the ICC-certifed CALGreen Building Inspector to review and understand the City of West Hollywood's Green Building Program Manual. 2. After the building permit has been issued, an ICC-certified CALGreen Building Inspector shall field verify all applicable requirements. 3. Prior to the installation of drywall, the general contractor or approved agent shall use an ICC-certified CALGreen Building Inspector to verify compliance with the Green Building Incremental Verification requirements. The general contractor shall then contact the West Hollywood Building & Safety Divsion at 323.984.7321 to schedule a Green Building Incremental Verification with a City Building Inspector. The CALGreen Building Inspector shall have confirmed all applicable items and present all required documentation. 4. Prior to final building approval, the general contractor or approved agent shall use an ICC-certified CALGreen Building Inspector to verify compliance with the Green Building Final Inspection requirements. The general contractor shall then contact the West Hollywood Building & Safety Divsion at 323.984.7321 to schedule a Green Building Final Inspection with a City Building Inspector. The CALGreen Building Inspector shall have confirmed all applicable items and present all required documentation. 5. The CALGreen Building Inspector shall also sign and complete the acknowledgement box in the upper right hand corner and post-construction verification.
|  | Testing and adjusting: Procedures | CGBS 5.410.4.3
|  | Testing and adjusting: HVAC balancing | CGBS 5.410.4.3.1 | [24 empty] | Schedule a two-part Final Green Building Inpection in accordance with the Nonresidential Green Building Guidelines.
|  | Testing, adjusting and balancing: Reporting for HVAC balancing | CGBS 5.410.4.4
|  | Operation and maintenance (O&M) manual | CGBS 5.410.4.5
|  | O&M: Inspection and reports [AA] + [N] less than 10,000 square feet | CGBS 5.410.4.5.1
For Part 1, prepare all submittals & supporting documentation for the items identified with an "X" under the "Y" column of this sheet.
#REF!
#REF!
| #REF! | [26 empty] | For Part 2, prepare a field inspection for the items identified with an "X" under the "Y" column of this sheet.
#REF!
I certify that:
There have been no alterations that have impacted the energy report for the project.
All mandatoiry CALGreen measures and required electives noted in the checklist have been implemented, unless a new checklist is provided along with supporting documentation.
[27 empty] | Signature |  | Date
``
[29 empty] | 2022 NONRESIDENTIAL GREEN BUILDING CHECKLIST CALGREEN + LOCAL REQUIREMENTS | GB-2
Version 1.0
Title 24, Part 11, California Green Building Code (CALGreen) w/ 2023 LA County Amendments
[12 empty] | City of West Hollywood Green Building Program and Resources |  |  |  |  | Application: This plan sheet is for use by nonresidential additions (1,000 SF or greater), alterations with a permit valuation of $200,000 or more, and any initial tenant improvements.
NonRes