## GB-1 Res
Project Address: Case No: 2022 RESIDENTIAL CHECKLIST - CALGREEN + LOCAL REQUIREMENTS
|  |  |  | Plan Sheet, Spec or Attachment Reference | Compliance Path Verification | [11 empty] | Plan Sheet, Spec or Attachment Reference | Compliance Path Verification | [6 empty] | CALGreen Building Inspector Acknowledgement
[5 empty] | Planning Review |  | Plan Check |  | Field Verification |  | Comments | [6 empty] | Planning Review |  | Plan Check |  | Field Verification |  | Comments
4.1 Planning and Design |  |  | State and/or Local Code Section |  | Y | N | Y | N | Increm | Final |  | 4.5 Environmental Quality |  |  |  | State and/or Local Code Section |  | Y | N | Y | N | Increm | Final
| 1 | Stormwater Pollution Prevention | WHMC 19.20.190 & Chapter 15.56 | [10 empty] | Fireplaces |  | CGBS 4.503.1
| 2 | Construction debris control | WHMC 19.20.060 | [10 empty] | Pollutant Control: Covering of duct openings, protection of mechanical equipment during construction |  | CGBS 4.504.1 | [8 empty] | The project will be verified by a qualified CALGreen Building Inspector or California licensed Architect.
| 3 | Low-impact development | WHMC 19.20.190 & Chapter 15.56 | [10 empty] | Adhesives, sealants and caulks |  | CGBS 4.504.2.1
| 4 | Grading & Paving | WHMC 19.20.190 & CGBS 4.106.3 | [10 empty] | Paints and coatings |  | CGBS 4.504.2.2
| 5 | Storm Drain Labeling | WHMC 19.20.190 & CGBS 4.106.3 | [10 empty] | Aerosol paints and coatings |  | CGBS4.504.2.3 | [8 empty] | I have reviewed the project plans and specifications, and they are in conformance with the CALGreen and West Hollywood mandatory provisions claimed. I have reviewed and understand the post-construction requirements below.
| 6 | Electric vehicle (EV) charging (for new construction) | WHMC 19.28.170 & CGBS 4.106.4 | [10 empty] | Verification |  | CGBS 4.504.2.4
| 7 | EV: New one-and-two-family dwellings and townhouses with attached private garages | CGBS 4.106.4.1 | [10 empty] | Carpet systems |  | CGBS 4.504.3
| 8 | EV: Identification | CGBS 4.106.4.1.1 | [10 empty] | Carpet systems: Carpet cushion |  | CGBS 4.504.3.1
| 9 | EV: New multifamily dwellings, hotels and motels and new residential parking facilities | CGBS 4.106.4.2 | [10 empty] | Carpet systems: Carpet adhesive |  | CGBS 4.504.3.2
| 10 | EV: Multifamily development projects, hotels, and motels, with less than 20 dwelling units or guest rooms | CGBS 4.106.4.2.1 | [10 empty] | Resilient flooring systems |  | CGBS 4.504.4
| 11 | EV: Multifamily development projects, hotels, and motels, with 20 or more dwelling units or guest rooms | CGBS 4.106.4.2.2 | [10 empty] | Composite wood products |  | CGBS 4.504.5
| 12 | EV: Electrical vehicle charging stations (EVCS) | CGBS 4.106.4.2.2.1 | [10 empty] | Concrete slab foundations |  | CGBS 4.505.2 | [8 empty] | Signature Date
| 13 | EV: Location | CGBS 4.106.4.2.2.1.1 | [10 empty] | Concrete slab foundations: Capillary break |  | CGBS 4.505.2.1
| 14 | EV: Electric vehicle charging stations (EVCS) dimensions | CGBS 4.106.4.2.2.1.2 | [10 empty] | Moisture content of building materials |  | CGBS 4.505.3
| 15 | EV: Accessible EV spaces | CGBS 4.106.4.2.2.1.3 | [10 empty] | Bathroom exhaust fans |  | CGBS 4.506.1
|  | EV: EV space requirements | CGBS 4.106.4.2.3 | [10 empty] | Heating and air conditioning system design |  | CGBS 4.507.2
|  | EV: Identification | CGBS 4.106.4.2.4 | [8 empty] | Additional Requirements for Projects Seeking Approval of A Specific Plan or Development Agreement (Select one of three) | [12 empty] | Print Full Name
| 16 | EV: EV Ready space signage | CGBS 4.106.4.2.5 | [8 empty] | Select one | 1 | Highly Energy Efficient Building: Performance approach specified within the 2022 California Energy Code shall be used to demonstrate that the TDV Energy of proposed new high-rise multi-family residential and mixed-use projects of 4 stories or more is at least: 50 percent less than TDV energy of the Standard Design. |  | WHMC 19.20.060/ 2022 Title 24, Part 6
| 17 | EV Charging for Additions and Alterations of Parking Facilities Serving Existing Multifamily Buildings | CGBS 4.106.4.3 | [9 empty] | 2
|  | Alternative transportation (bicycle parking & facilities) | WHMC 19.28.150 | [9 empty] | 3 | [11 empty] | Phone or Email
|  | Transportation demand management (TDM) | WHMC Chapter 10.16 | [10 empty] | Graywater system installation (Indoor, Outdoor, or Combination) |  | WHMC 19.20.060
|  | Permeable outdoor surfaces | WHMC 19.20.190 & 19.36.280 | [10 empty] | Third-party rating system certification (LEED Platinum or Living Building Challenge) |  | WHMC 19.20.060
|  | Landscaping for surface parking areas | WHMC 19.28.100 | [21 empty] | SECTION TO BE COMPLETED AFTER CONSTRUCTION
|  | Ground-level vegetative open space (Optional) | WHMC 19.28.060 | [10 empty] | Legend:
| 18 | Sustainable roof measures | WHMC 19.20.060 | [10 empty] | Y - | Yes, the measure selected is applicable to my project and in the scope of work
4.2 Energy Efficiency | [13 empty] | N - | No, the measure is not applicable to my project and not in the scope of work
|  | Energy efficiency | WHMC 19.20.060 & 2022 Title 24, Part 6 | [10 empty] | WHMC - | West Hollywood Municipal Code | [9 empty] | I certify that:
|  | Energy star appliances | WHMC 19.20.060 | [10 empty] | CGBS - | California Green Building Standards (CALGreen) | [11 empty] | CALGreen inspections were performed throughout construction
|  | Energy-efficient outdoor lighting | WHMC 19.20.100 & 2022 Title 24, Part 6 | [23 empty] | The project has met the CALGreen measures as claimed on this sheet.
|  | Energy benchmarking readiness - Buildings over 20,000 square feet | WHMC 19.20.060 | [8 empty] | Planning Review & Plan Check Instructions: | [14 empty] | Through a combination of onsite inspections and confirmation from the Contractor, there have been no alterations that impacted the energy report for the project, unless a new report is provided as an attachment.
4.3 Water Efficiency and Conservation | 1 | [10 empty] | This Green Building Checklist is intended to simplify the project approval process for residential projects in West Hollywood. Each of the items on this checklist is mandatory, depending on the project's scope. References to State and local code sections are provided. Applicants shall submit this checklist along with supporting documentation onto the submittal plans as part of their application for a development permit and a building permit, as applicable (see West Hollywood Green Building Program Manual for information). Note mixed-use projects should complete this checklist for the residential portions of the project.
|  | Water Conserving Plumbing Fixtures & Fittings | WHMC 13.24.015 & CGBS 4.303.1
|  | Indoor water use: Water closets (1.1 gpf) (locally amended) | WHMC 13.24.015 & CGBS 4.303.1.1
|  | Indoor water use: Urinals (Wall Mounted 0.125 gpf, all others 0.5 gpf) | CGBS 4.303.1.2
|  | Indoor water use: Single showerhead (1.5 gpm at 80 psi) (locally amended) | WHMC 13.24.015 & CGBS 4.303.1.3.1
|  | Indoor water use: Multiple showerheads serving one shower (1.5 gpm at 80 psi) (locally amended) | WHMC 13.24.015 & CGBS 4.303.1.3.2 | [21 empty] | Signature (CALGreen Building Inspector)
|  | Indoor water use: Residential lavatory faucets (1.2 gpm at 60 psi) | CGBS 4.303.1.4.1 | [22 empty] | Sign only after construction is completed
|  | Indoor water use: [Multi-family Only] Lavatory faucets in common and public use areas | CGBS 4.303.1.4.2 | [8 empty] | Green Building Inspection Instructions:
|  | Indoor water use: Metering faucets (0.2 gallons per cycle) (locally amended) | CGBS 4.303.1.4.3 | [8 empty] | 1. It is the requirement of the ICC-certifed CALGreen Building Inspector to review and understand the City of West Hollywood's Green Building Program Manual. 2. After the building permit has been issued, an ICC-certified CALGreen Building Inspector shall field verify all applicable requirements. 3. Prior to the installation of drywall, the general contractor or approved agent shall use an ICC-certified CALGreen Building Inspector to verify compliance with the Green Building Incremental Verification requirements. The general contractor shall then contact the West Hollywood Building & Safety Divsion at 323.984.7321 to schedule a Green Building Incremental Verification with a City Building Inspector. The CALGreen Building Inspector shall have confirmed all applicable items and present all required documentation. 4. Prior to final building approval, the general contractor or approved agent shall use an ICC-certified CALGreen Building Inspector to verify compliance with the Green Building Final Inspection requirements. The general contractor shall then contact the West Hollywood Building & Safety Divsion at 323.984.7321 to schedule a Green Building Final Inspection with a City Building Inspector. The CALGreen Building Inspector shall have confirmed all applicable items and present all required documentation. 5. The CALGreen Building Inspector shall also sign and complete the acknowledgement box in the upper right hand corner and post-construction verification.
|  | Indoor water use: Kitchen faucets (1.5 gpm at 60 psi) (locally amended) | WHMC 13.24.015 & CGBS 4.303.1.4.4
|  | Indoor water use: Pre-Rinse Spray Valves | CGBS 4.303.1.4.5 | [21 empty] | Print Full Name
|  | Indoor water use: Submeters for Multifamily Buildings and Dwellings in Mixed-Use Buildings (Meet 2022 CPC) | CGBS 4.303.2
|  | Indoor water use: Standards for plumbing fixtures and fittings (Meet 2022 California Plumbing Code) | CGBS 4.303.3
|  | Outdoor water use in landscape areas (MWELO) (Include MWELO Toolkit) | WHMC 19.20.060 & CGBS 4.304.1 | [21 empty] | Date
|  | Outdoor water use: Landscape water meters (when landscaping is in the scope) (locally amended) | WHMC 13.24.015 & CGBS 4.304.2
4.4 Material Conservation and Resource Efficiency | #REF!
|  | Rodent proofing | CGBS 4.406.1
|  | Enhanced construction waste management- 80% Diversion | WHMC 19.40.040 & CGBS 4.408.1
|  | Environmental protection, pollution, and solid waste | WHMC Chapter 15
|  | Operation and maintenance manual | CGBS 4.410.1
|  | Recyclable materials storage | WHMC 19.36.280 & 19.20.180(B10) & CGBS 4.410.2
Print Name
Date
[29 empty] | 2022 RESIDENTIAL GREEN BUILDING CHECKLIST CALGREEN + LOCAL REQUIREMENTS | GB-1
Version 1.0
[15 empty] | Title 24, Part 11, California Green Building Code (CALGreen) w/ 2023 LA County Amendments |  |  |  |  | Application: This plan sheet is for new residential projects, major remodels, and additions. | [9 empty] | RES
City of West Hollywood Green Building Program and Resources
The Energy Star Benchmark Portfolio profile is a required project submittal. Create a project profile on Energy Star Portfolio Manager using the following link. A screenshot of the project profile shall be included on a separate page in this plan set during the PlanCheck Phase. Please indicate the reference page here ______________________.