Low Impact Development Plan

(LID Plan)

Project Name:

Insert Project Name

Insert Address

Insert City, State, Zip

Prepared for:

Insert Owner/Developer Name

Insert Address

Insert City, State, Zip

Insert Telephone Number

Prepared by:

Insert Consulting/Engineering Firm Name

Insert Address

Insert City, State, Zip

Insert Telephone Number

PE Stamp & Sign Here

Insert Date Prepared/Revised

# Project Owner’s Certification

I certify under penalty of law that this document and all attachments were prepared under my jurisdiction or supervision in accordance with a system designed to assure that qualified personnel properly gather and evaluate the information submitted. Based on my inquiry of the person or persons who manage the system or those persons directly responsible for gathered the information, to the best of my knowledge and belief, the information submitted is true, accurate, and complete. I am aware that there are significant penalties for submitting false information, including the possibility of fine and imprisonment for knowing violations.

| Owner’s Name: |  |  |  |
| --- | --- | --- | --- |
| Owner’s Title: |  |  |  |
| Company: |  |  |  |
| Address: |  |  |  |
| Email: |  |  |  |
| Telephone No: |  |  |  |
| Signature: |  | Date: |  |

# Preparer (Engineer) Certification

| Engineer’s Name: |  |  |  |
| --- | --- | --- | --- |
| Engineer’s Title: |  |  |  |
| Company: |  |  |  |
| Address: |  |  |  |
| Email: |  |  |  |
| Telephone No: |  |  |  |
| I hereby certify that this Low Impact Development Plan is in compliance with, and meets the requirements set forth in Order No. 2021-0105 of the Los Angeles Regional Water Quality Control Board. |  |  |  |
| Engineer’s Signature |  | Date |  |
| Place Stamp Here |  |  |  |

# Table of Contents

Project Owner’s Certification	i

Preparer (Engineer) Certification	ii

Table of Contents	iii

1.	Project Description	1

1.1.	Project Category	1

1.2.	Project Description	2

1.3.	Hydromodification Analysis	4

1.4.	Property Ownership/Management	6

2.	Best Management Practices (BMPs)	7

2.1.	Site Design	7

2.2.	BMP List	8

2.3.	BMP Selection	9

2.3.1.	Infiltration BMPs	9

2.3.2.	Rainwater Harvest and Use BMPs	10

2.3.3.	Alternative Compliance BMPs	11

2.3.4.	Treatment Control BMPs	12

2.3.5.	Non-structural Source Control BMPs	13

2.3.6.	Structural Source Control BMPs	13

Attachment A: Calculations	14

Attachment B: Geotechnical Investigation	15

Attachment C: Master Covenant Agreement (MCA)	16

Attachment D: Operations and Maintenance (O&M) Plan	17

Attachment E: Plans	20

# Project Description

## Project Category

Check which box best represents the proposed project category.

| REDEVELOPMENT PROJECTS. Complete this section if the project will redevelop an existing development. |  |
| --- | --- |
| The redevelopment will create and/or replace 5,000 square feet or more of impervious surface and will be: |  |
| - a restaurant (SIC 5812) | Yes |
| - a parking lot | Yes |
| - an automotive service facility (SIC 5013, 5014, 5511, 5541, 7532-7534 and 7536-7539) | Yes |
| - a retail gasoline outlet | Yes |
| - on an existing site of 10,000 square feet or more of impervious surface area | Yes |
| - within an industrial park of 10,000 square feet or more of surface area | Yes |
| - within a commercial mall (including strip malls) of 10,000 square feet or more of surface area | Yes |
| Or the redevelopment project will: |  |
| - create and/or replace 2,500 square feet or more of impervious area; discharge stormwater likely to impact sensitive biological species or habitat; and be in, directly adjacent to, or discharge directly to an ASBS or “Sensitive Ecological Area” | Yes |
| NEW DEVELOPMENT PROJECTS. Complete this section if the existing project site is undeveloped. |  |
| The new development project will: |  |
| - create 5,000 square feet or more of impervious surface and will be either a restaurant, parking lot, auto service facility (SIC 5013, 5014, 5511, 5541, 7532-7534 and 7536-7539), or retail gasoline outlet | Yes |
| - disturb 1 acre or more and add 10,000 square feet or more of impervious surface | Yes |
| - be an industrial park of 10,000 square feet or more of surface area | Yes |
| - be a commercial mall (including strip malls) of 10,000 square feet of surface area | Yes |
| - create 2,500 square feet or more of impervious area; discharge stormwater likely to impact sensitive biological species or habitat; and be in, directly adjacent to, or discharge directly to an ASBS1 or “Sensitive Ecological Area”2 | Yes |

## Project Description

Total Project Area (ft2):

Total Project Area (Ac):

Existing Conditions

| Condition | Area (ft2) | Percentage (%) |
| --- | --- | --- |
| Pervious Area: |  |  |
| Impervious Area: |  |  |

Proposed Conditions

| Condition | Area (ft2) | Percentage (%) |
| --- | --- | --- |
| Pervious Area: |  |  |
| Impervious Area: |  |  |

Site Characteristics

| Drainage Patterns/Connections Include a detailed description of existing and proposed drainage patterns. Describe the areas and sub-areas (to include square footage), treatment locations, direction of flow through each area, discharge point(s), ultimate termination point, etc. | Existing: |
| --- | --- |
|  | Proposed: |
| Narrative Project Description: Include a detailed description of project areas, type of facilities, activities conducted onsite, materials and products received and stored on site, SIC Code (if applicable), land uses, land cover, design elements, drainage management areas (DMAs), etc. |  |

| Offsite Runon Describe any offsite runon anticipated and how the runon will be either accounted for in LID BMP sizing or directed around the site. |  |
| --- | --- |
| Utility and Infrastructure Information Include a description of the existing and proposed onsite utility and infrastructure. Evaluate the potential impacts of stormwater infiltration on subsurface utilities, establish necessary setbacks, and if the utilities need to be relocated. Retention-based stormwater quality control measures should not be located near utility lines where an increased volume of water could damage utilities. |  |
| Significant Ecological Areas (SEAs) Identify any known Significant Ecological Area (SEA) which the project is located in or directly adjacent to, or discharging directly to. |  |

## Hydromodification Analysis

Check “Yes” or “No,” as applicable.

| Does the proposed project fall into one of the following categories? | Yes | No |
| --- | --- | --- |
| - Project is a redevelopment that decreases the effective impervious area compared to the pre-project conditions. |  |  |
| Describe: |  |  |
| - Project is a redevelopment that increases the infiltration capacity of pervious areas compared to the pre-project conditions. |  |  |
| Describe: |  |  |
| - Project discharges directly or via a storm drain to a sump, lake, area under tidal influence, into a waterway that has a 100-year peak flow (Q100) of 25,000 cfs or more. |  |  |
| Describe: |  |  |
| - Project discharges directly or via a storm drain into concrete or otherwise engineered (not natural) channels (e.g., channelized or armored with rip rap, shotcrete, etc.), which, in turn, discharges into receiving water that is not susceptible to hydromodification impacts. |  |  |
| Describe: |  |  |

If one or more of the above criteria are checked “Yes,” the project is exempt from Hydromodification Control Measures. State as such.

If none of the above criteria are checked “Yes,” the project will require Hydromodification Control Measures. Include a detailed description of control measures to be implemented and calculations following the criteria outlined in MS4 Permit (Order R4-2021-0105) §VIII.F.2.c. Please use the space provided on the next page.

Hydromodification Analysis and Control Measures

| Description If the site is susceptible to hydromodification, include descriptions on selection and sizing of Hydromodification Control Measures. |  |
| --- | --- |
| Calculations If the site is susceptible to hydromodification, show calculations to demonstrate how the volume, flowrate, and duration conditions can be met with Hydromodification Control Measures BMPs. |  |

## Property Ownership/Management

| Describe ownership of all portions of project and site. Include information on if any infrastructure transfer to public agencies (City, County, Caltrans, etc.). Describe any property management company/association that will be formed. Include leasee information, as applicable. |  |
| --- | --- |

# Best Management Practices (BMPs)

## Site Design

| 85th Percentile, 24-Hour Storm Depth Determined from the Los Angeles County 85th percentile precipitation isohyetal map. If less than 0.75-inch, state as such and use 0.75-inch throughout. |  |
| --- | --- |
| Site Design Describe site design and drainage plan including site design practices utilized and how BMPs are incorporated using the appropriate hierarchy. |  |

## BMP List

Fill out the table below with information on the BMPs proposed in each Drainage Management Area (DMA).

| ##### DMA Designation | ##### DMA Square Footage (sf) | ##### Imperviousness of DMA (%) | ##### Storm Water Quality Design Volume (SWQDv, cf) | ##### 1.5 x SWQDv (cf) [Only applicable for biofiltration] | ##### BMP Type [Include make & model if proprietary] | ##### Minimum BMP Size Required ##### (sf) | ##### BMP Size Proposed ##### (sf) | ##### BMP Volume Capacity ##### (cf) | ##### GPS Coordinates [At least 6 decimal points] |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

## BMP Selection

### Infiltration BMPs

| Name | Included Check all that apply |
| --- | --- |
| Bioretention without underdrains |  |
| Drywell |  |
| Infiltration Basin |  |
| Infiltration Trench |  |
| Permeable Pavement |  |
| Proprietary Subsurface Infiltration Gallery |  |
| Other: |  |
| Other: |  |

| Description Describe Infiltration BMPs. Include descriptions on selection, sizing, and feasibility, as applicable. If infiltration is infeasible, provide brief explanation, including reference to the geotechnical report. |  |
| --- | --- |
| Calculations Show calculations to demonstrate that the Storm Water Quality Design volume can be met with Infiltration BMPs. |  |

### Rainwater Harvest and Use BMPs

| Name | Included Check all that apply |
| --- | --- |
| Above-ground cisterns |  |
| Underground detention |  |
| Other: |  |
| Other: |  |
| Other: |  |

| Description Describe Rainwater Harvest and Use BMPs. Include descriptions on selection, suitability, sizing, and infeasibility, as applicable. |  |
| --- | --- |
| Calculations Show calculations to demonstrate if the Storm Water Quality Design volume can be met with Rainwater Harvest and Use BMPs. If not, document how much can be met with Rainwater Harvest and Use and why it is not feasible to meet the full volume with Rainwater Harvest and Use BMPs. |  |

### Alternative Compliance BMPs

Biofiltration BMPs

(If Infiltration BMPs and Rainwater Harvest and Use BMPs are Infeasible)

| Name | Included Check all that apply |
| --- | --- |
| Bioretention with underdrains |  |
| Planter Box with underdrains |  |
| Vegetated Swale |  |
| Other: |  |
| Other: |  |

| Description If the full Design Storm Capture Volume cannot be met with Infiltration BMPs, and/or Rainwater Harvest and Use BMPs, describe Biofiltration BMPs. Include descriptions on selection, suitability, sizing, and infeasibility, as applicable. |  |
| --- | --- |
| Calculations Show calculations to demonstrate how 1.5 times the Storm Water Quality Design volume and/or flowrate can be met with Biotreatment BMPs. |  |

### Treatment Control BMPs

Treatment control BMPs can only be used as pre-treatment to LID BMPs.

| Name | Included Check all that apply |
| --- | --- |
| Filter Insert |  |
| Hydrodynamic Separator |  |
| Media Filter |  |
| Other: |  |
| Other: |  |

| Description Include descriptions on selection, suitability, sizing, and infeasibility, as applicable. |  |
| --- | --- |

### Non-structural Source Control BMPs

| Name | Check One |  |
| --- | --- | --- |
|  | Included | Not Applicable |
| Education for Property Owners, Tenants and Occupants |  |  |
| Activity Restrictions |  |  |
| Common Area Landscape Management |  |  |
| Common Area Litter Control |  |  |
| Housekeeping of Loading Docks |  |  |
| Common Area Catch Basin Inspection |  |  |
| Street Sweeping Private Streets and Parking Lots |  |  |

### Structural Source Control BMPs

| Name | Check One |  |
| --- | --- | --- |
|  | Included | Not Applicable |
| Provide storm drain system stenciling and signage |  |  |
| Design and construct outdoor material storage areas to reduce pollution introduction |  |  |
| Design and construct trash and waste storage areas to reduce pollution introduction |  |  |
| Use efficient irrigation systems & landscape design, water conservation, smart controllers, and source control |  |  |
| Protect slopes and channels and provide energy dissipation |  |  |
| Loading docks |  |  |
| Maintenance bays |  |  |
| Vehicle wash areas |  |  |
| Outdoor processing areas |  |  |
| Equipment wash areas/racks |  |  |
| Fueling areas |  |  |
| Hillside landscaping |  |  |

# Attachment A: Calculations

Include calculations for each BMP following an approved published design standard (e.g., City LID Manual or County LID Manual). Calculations must be followed step-by-step with no alterations. Also, include an excerpt from the design standard used.

# Attachment B: Geotechnical Investigation

Include all geotechnical documents relevant to infiltration feasibility (i.e., Geotechnical Report, Soils Report, Percolation Report, Soils Letter, etc.). The document(s) must detail the results of the soil investigation, the infiltration rate, groundwater depths, soil characterization, etc. Note that soil borings must be conducted in the area of the proposed BMPs.

# Attachment C: Master Covenant Agreement (MCA)

Include the Master Covenant Agreement (MCA) form. The MCA must list the type, dimensions, and model number (if applicable) of each BMP. It will eventually need to have the following attached: Operations and Maintenance (O&M) Plan, Site Plan, and Owner’s Certification. Once complete, the MCA will need to be notarized and recorded (along with attachments) with the County Recorder’s Office.

# Attachment D: Operations and Maintenance (O&M) Plan

Provide an Operations and Maintenance (O&M) Plan. This should include the components of the BMPs, description of maintenance requirements, frequency of inspections and maintenance, and the responsible entity. Manufacturer maintenance guidelines for proprietary BMPs and sump pumps should be referenced and included, along with an 8.5”x11” site map that calls out the BMPs.

# Operations and Maintenance (O&M) Plan

# For

Insert Project Name

Insert Project Address

Insert Property Legal Description And APN Number

Recordkeeping

All records must be made available for review upon request.

Responsible Party

The owner is aware of the maintenance responsibilities of the proposed BMPs. A funding mechanism is in place to maintain the BMPs at the frequency stated in the LID Plan. The contact information for the entity responsible is below:

| Name: |  |
| --- | --- |
| Company: |  |
| Title: |  |
| Address 1: |  |
| Address 2: |  |
| Phone Number: |  |
| Email: |  |

| BMP Applicable? Yes/No | BMP Name | BMP Implementation, Maintenance, and Inspection Procedures | Implementation, Maintenance, and Inspection Frequency and Schedule | Person or Entity with Operation & Maintenance Responsibility |
| --- | --- | --- | --- | --- |
| Non-Structural Source Control BMPs |  |  |  |  |
|  | Education for Property Owners, Tenants and Occupants |  |  |  |
|  | Activity Restriction |  |  |  |
|  | Common Area Landscape Management |  |  |  |
|  | Common Area Litter Control |  |  |  |
|  | Housekeeping of Loading Docks |  |  |  |
|  | Common Area Catch Basin Inspection |  |  |  |
|  | Street Sweeping Private Streets and Parking Lots |  |  |  |
| Structural Source Control BMPs |  |  |  |  |
|  | Provide Storm Drain System Stenciling and Signage |  |  |  |
|  | Design and Construct Outdoor Material Storage Areas to Reduce Pollutant Introduction |  |  |  |
|  | Design and Construct Trash and Waste Storage Areas to Reduce Pollutant Introduction |  |  |  |
|  | Use Efficient Irrigation Systems & Landscape Design |  |  |  |
|  | Protect Slopes and Channels and Provide Energy Dissipation |  |  |  |
|  | Loading Docks |  |  |  |
|  | Maintenance Bays |  |  |  |
|  | Vehicle Wash Areas/Racks |  |  |  |
|  | Outdoor Processing Areas |  |  |  |
|  | Equipment Wash Areas |  |  |  |
|  | Fueling Areas |  |  |  |
|  | Hillside Landscaping |  |  |  |
| Treatment Control BMPs |  |  |  |  |
| LID BMPs |  |  |  |  |
| Hydromodification Control BMPs |  |  |  |  |

# Attachment E: Plans

Include full sized copies (24” x 36” or larger) of all relevant plans (i.e., grading plans, plumbing plans, drainage plans, etc.) and stamped by a California licensed civil engineer with all water quality notes and details. The plans should indicate the locations of all BMPs, cross-sectional details of all BMPs, conveyance systems, drainage connections, overflow processes, elevations, inverts, etc. All conveyance systems (i.e. ribbon gutters, area drains, storm drains, swales, etc.) must be indicated with inverts and elevations. The cross-sectional details of the BMPs must show the type and depth of all layers (i.e., amended soil layer, gravel layer, etc.) and must follow the criteria from the design standard used.

Areas of Special Biological Significance, as defined in the Water Quality Control Plan for Ocean Waters of California.

As identified by the County of Los Angeles’ Significant Ecological Areas Program (http://planning.lacounty.gov/site/sea/home/).